## Sheet1
CIP Version Requirements |  | Applies To
CIPv3 | CIPv5 | High Impact BES | High Impact BES w/ Dial‐up | High Impact BES w/ ERC | Medium Impact BES | Medium Impact BES –CC | Medium Impact BES w/Dial‐up | Medium Impact BES w/ ERC | Medium Impact BES ‐ NO ERC | Low Impact BES | EACMS | PACS | PCA | EAP | Local hardware ‐ PSP
002‐3 R2. Critical Asset Identification | 002‐5 R1. Each Responsible Entity shall implement a process that considers each of the following assets for | X | X | X | X | X | X | X | X | X
The Responsible Entity shall develop a list of its identified Critical Assets determined through an annual | purposes of parts 1.1 through 1.3:
application of the risk‐based assessment methodology required in R1. The Responsible Entity shall review this list | i. Control Centers and backup Control Centers;
at least annually, and update it as necessary. | ii. Transmission stations and substations;
002‐3 R3. Critical Cyber Asset Identification | iii. Generation resources;
Using the list of Critical Assets developed pursuant to Requirement R2, the Responsible Entity shall develop a list | iv. Systems and facilities critical to system restoration, including Blackstart Resources and Cranking Paths and
of associated Critical Cyber Assets essential to the operation of the Critical Asset. Examples at control centers and | initial switching requirements;
backup control centers include systems and facilities at master and remote sites that provide monitoring and | v. Special Protection Systems that support the reliable operation of the Bulk Electric System; and
control, automatic generation control, real‐time power system modeling, and real‐time inter‐utility data | vi. For Distribution Providers, Protection Systems specified in Applicability section 4.2.1 above.
exchange. The Responsible Entity shall review this list at least annually, and update it as necessary. For the | 1.1. Identify each of the high impact BES Cyber Systems according to Attachment 1, Section 1, if any, at each
purpose of Standard CIP‐002‐3, Critical Cyber Assets are further qualified to be those having at least one of the | asset;
following characteristics: | 1.2. Identify each of the medium impact BES Cyber Systems according to Attachment 1, Section 2, if any, at
R3.1. The Cyber Asset uses a routable protocol to communicate outside the Electronic Security Perimeter; or, | each asset; and
R3.2. The Cyber Asset uses a routable protocol within a control center; or, | 1.3. Identify each asset that contains a low impact BES Cyber System according to Attachment 1, Section 3, if
R3.3. The Cyber Asset is dial‐up accessible | any (a discrete list of low impact BES Cyber Systems is not required).
002‐3 R4. Annual Approval — The senior manager or delegate(s) shall approve annually the risk‐based | 002‐5 R2. The Responsible Entity shall: | X | X | X | X | X | X | X | X | X
assessment methodology, the list of Critical Assets and the list of Critical Cyber Assets. Based on Requirements | 2.1 Review the identifications in Requirement R1 and its parts (and update them if there are changes identified)
R1, R2, and R3 the Responsible Entity may determine that it has no Critical Assets or Critical Cyber Assets. The | at least once every 15 calendar months, even if it has no identified items in Requirement R1, and
Responsible Entity shall keep a signed and dated record of the senior manager or delegate(s)’s approval of the | 2.2 Have its CIP Senior Manager or delegate approve the identifications required by Requirement R1 at least
risk‐based assessment methodology, the list of Critical Assets and the list of Critical Cyber Assets (even if such | once every 15 calendar months, even if it has no identified items in Requirement R1.
lists are null.)
003‐3 R1. Cyber Security Policy — The Responsible Entity shall document and implement a cyber security policy | 003‐5 R1. Each Responsible Entity, for its high impact and medium impact BES Cyber Systems, shall review and |  | X |  | X
that represents management’s commitment and ability to secure its Critical Cyber Assets. The Responsible Entity | obtain CIP Senior Manager approval at least once every 15 calendar months for one or more documented cyber
shall, at minimum, ensure the following: | security policies that collectively address the following topics:
R1.1 The cyber security policy addresses the requirements in Standards CIP‐002‐3 through CIP‐009‐3, including | 1.1 Personnel & Training (CIP‐004);
provision for emergency situations. | 1.2 Electronic Security Perimeters (CIP‐005) Including interactive Remote Access;
R1.3 Annual review and approval of the cyber security policy by the senior manager assigned pursuant to R2. | 1.3 Physical security of BES Cyber Systems (CIP‐006);
1.4 System security management (CIP‐007);
1.5 Incident Reporting and response planning (CIP‐008);
1.6 Recovery plans for BES Cyber Systems (CIP‐009);
1.7 Configuration change management and vulnerability assessments (CIP‐010);
1.8 Information protection (CIP‐011); and
1.9 Declaring and responding to CIP Exceptional Circumstances.
003‐3 R1. Cyber Security Policy — The Responsible Entity shall document and implement a cyber security policy | 003‐5 R2. Each Responsible Entity for its assets identified in CIP‐002‐5, Requirement R1, Part R1.3, shall | [8 empty] | X
that represents management’s commitment and ability to secure its Critical Cyber Assets. The Responsible Entity | implement, in a manner that identifies, assesses, and corrects deficiencies, one or more documented cyber
shall, at minimum, ensure the following: | security policies that collectively address the following topics, and review and obtain CIP Senior Manager
R1.1 The cyber security policy addresses the requirements in Standards CIP‐002‐3 through CIP‐009‐3, including | approval for those policies at least once every 15 calendar months:
provision for emergency situations. | 2.1 Cyber security awareness;
R1.3 Annual review and approval of the cyber security policy by the senior manager assigned pursuant to R2. | 2.2 Physical security controls;
2.3 Electronic access controls for external routable protocol connections and Dial‐up Connectivity; and
2.4 Incident response to a Cyber Security Incident.
An inventory, list, or discrete identification of low impact BES Cyber Systems or their BES Cyber Assets is not
required.
|  | High Impact BES | High Impact BES w/ Dial‐up | High Impact BES w/ ERC | Medium Impact BES | Medium Impact BES –CC | Medium Impact BES w/Dial‐up | Medium Impact BES w/ ERC | Medium Impact BES ‐ NO ERC | Low Impact BES | EACMS | PACS | PCA | EAP | Local hardware ‐ PSP
003‐3 R2. Leadership — The Responsible Entity shall assign a single senior manager with overall responsibility | 003‐5 R3. Each Responsible Entity shall identify a CIP Senior Manager by name and document any change within | X |  |  | X |  |  |  |  | X
and authority for leading and managing the entity’s implementation of, and adherence to, Standards CIP‐002‐3 | 30 calendar days of the change.
through CIP‐009‐3.
R2.1. The senior manager shall be identified by name, title, and date of designation.
R2.2. Changes to the senior manager must be documented within thirty calendar days of the effective date
003‐3 R2. | 003‐5 R4. The Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, | X |  |  | X |  |  |  |  | X
R2.3. Where allowed by Standards CIP‐002‐3 through CIP‐009‐3, the senior manager may delegate authority for | a documented process to delegate authority, unless no delegations are used. Where allowed by the CIP
specific actions to a named delegate or delegates. These delegations shall be documented in the same manner as | Standards, the CIP Senior Manager may delegate authority for specific actions to a delegate or delegates. These
R2.1 and R2.2, and approved by the senior manager. | delegations shall be documented, including the name or title of the delegate, the specific actions delegated, and
R2.4. The senior manager or delegate(s), shall authorize and document any exception from the requirements of | the date of the delegation; approved by the CIP Senior Manager; and updated within 30 days of any change to
the cyber security policy. | the delegation. Delegation changes do not need to be reinstated with a change to the delegator.
004‐3 R1. Awareness — The Responsible Entity shall establish, document, implement, and maintain a security | 004‐5 R1. Each Responsible Entity shall implement one or more documented processes that collectively include | X |  |  | X
awareness program to ensure personnel having authorized cyber or authorized unescorted physical access to | each of the applicable requirement parts in CIP‐004‐5 Table R1 – Security Awareness Program.
Critical Cyber Assets receive on‐going reinforcement in sound security practices. The program shall include | 1.1 Security awareness that, at least once each calendar quarter, reinforces cyber security practices (which may
security awareness reinforcement on at least a quarterly basis using mechanisms such as: | include associated physical security practices) for the Responsible Entity's personnel who have authorized
• Direct communications (e.g., emails, memos, computer based training, etc.); | electronic or authorized unescorted physical access to BES Cyber Systems.
• Indirect communications (e.g., posters, intranet, brochures, etc.);
• Management support and reinforcement (e.g., presentations, meetings, etc.).
004‐3 R2. Training — The Responsible Entity shall establish, document, implement, and maintain an annual cyber | 004‐5 R2. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects | X | [5 empty] | X |  |  | X | X
security training program for personnel having authorized cyber or authorized unescorted physical access to | deficiencies, a cyber security training program(s) appropriate to individual roles, functions, or responsibilities that
Critical Cyber Assets. The cyber security training program shall be reviewed annually, at a minimum, and shall be | collectively includes each of the applicable requirement parts in CIP‐004‐5 Table R2 – Cyber Security Training
updated whenever necessary. | Program.
R2.1 This program will ensure that all personnel having such access to Critical Cyber Assets, including | 2.1 Training content on:
contractors and service vendors, are trained prior to their being granted such access except in specified | 2.1.1 Cyber security policies;
circumstances such as an emergency. | 2.1.2 Physical access controls;
R2.2. Training shall cover the policies, access controls, and procedures as developed for the Critical Cyber Assets | 2.1.3 Electronic access controls;
covered by CIP‐004‐3, and include, at a minimum, the following required items appropriate to personnel roles | 2.1.4 The visitor control program;
and responsibilities: | 2.1.5 Handling of BES Cyber System Information and its storage;
R2.2.1 The proper use of Critical Cyber Assets; | 2.1.6 Identification of a Cyber Security Incident and initial notifications in accordance with the entity's
R2.2.2 Physical and electronic access controls to Critical Cyber Assets; | incident response plan;
R2.2.3 The proper handling of Critical Cyber Asset information; and | 2.1.7 Recovery plans for BES Cyber Systems;
R2.2.4 Action plans and procedures to recover or re‐establish Critical Cyber Assets and access there to following | 2.1.8 Response to Cyber Security Incidents; and
a Cyber Security Incident. | 2.1.9 Cyber security risks associated with a BES Cyber System's electronic interconnectivity and
interoperability with other Cyber Assets.
2.2 Require completion of the training specified in Part 2.1 prior to granting authorized electronic access and
authorized unescorted physical access to applicable Cyber Assets, except during CIP Exceptional Circumstances.
2.3 Require completion of the training specified in Part 2.1 at least once every 15 calendar months.
|  | High Impact BES | High Impact BES w/ Dial‐up | High Impact BES w/ ERC | Medium Impact BES | Medium Impact BES –CC | Medium Impact BES w/Dial‐up | Medium Impact BES w/ ERC | Medium Impact BES ‐ NO ERC | Low Impact BES | EACMS | PACS | PCA | EAP | Local hardware ‐ PSP
004‐3 R3 Personnel Risk Assessment —The Responsible Entity shall have a documented personnel risk | 004‐5 R3. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects | X | [5 empty] | X |  |  | X | X
assessment program, in accordance with federal, state, provincial, and local laws, and subject to existing | deficiencies, one or more documented personnel risk assessment programs to attain and retain authorized
collective bargaining unit agreements, for personnel having authorized cyber or authorized unescorted physical | electronic or authorized unescorted physical access to BES Cyber Systems that collectively include each of the
access to Critical Cyber Assets. A personnel risk assessment shall be conducted pursuant to that program prior to | applicable requirement parts in CIP‐004‐5 Table R3 – Personnel Risk Assessment Program.
such personnel being granted such access except in specified circumstances such as an emergency. | 3.1 Process to confirm identity.
The personnel risk assessment program shall at a minimum include: | 3.2 Process to perform a seven year criminal history records check as part of each personnel risk assessment
R3.1 The Responsible Entity shall ensure that each assessment conducted include, at least, identity verification | that includes:
(e.g., Social Security Number verification in the U.S.) and seven‐year criminal check. The Responsible Entity may | 3.2.1 current residence, regardless of duration; and
conduct more detailed reviews, as permitted by law and subject to existing collective bargaining unit | 3.2.2 other locations where, during the seven years immediately prior to the date of the criminal history
agreements, depending upon the criticality of the position. | records check, the subject has resided for six consecutive months or more.
R3.2 The Responsible Entity shall update each personnel risk assessment at least every seven Years after the | If it is not possible to perform a full seven year criminal history records check, conduct as much of the seven year
initial personnel risk assessment or for cause. | criminal history records check as possible and document the reason the full seven year criminal history records
R3.3 The Responsible Entity shall document the results of personnel risk assessments of its personnel having | check could not be performed.
authorized cyber or authorized unescorted physical access to Critical Cyber Assets, and that personnel risk | 3.3 Criteria or process to evaluate criminal history records checks for authorizing access.
assessments of contractor and service vendor personnel with such access are conducted pursuant to Standard | 3.4 Criteria or process for verifying that personnel risk assessments performed for contractors or service
CIP‐004‐3. | vendors are conducted according to Parts 3.1 through 3.3
3.5 Process to ensure that individuals with authorized electronic or authorized unescorted physical access have
had a personnel risk assessment completed according to Parts 3.1 to 3.4 within the last seven years.
|  | X | [5 empty] | X |  |  | X | X
003‐3 R5. Access Control — The Responsible Entity shall document and implement a program for managing | 004‐5 R4. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects
access to protected Critical Cyber Asset information. | deficiencies, one or more documented access management programs that collectively include each of the
R5.2. The Responsible Entity shall review at least annually the access privileges to protected information to | applicable requirement parts in CIP‐004‐5 Table R4 – Access Management Program.
confirm that access privileges are correct and that they correspond with the Responsible Entity’s needs and | 4.1 Process to authorize based on need, as determined by the Responsible Entity, except for CIP Exceptional
appropriate personnel roles and responsibilities. | Circumstances:
R5.3. The Responsible Entity shall assess and document at least annually the processes for controlling access | 4.1.1 Electronic access;
privileges to protected information. | 4.1.2 Unescorted physical access into a Physical Security Perimeter; and
004‐3 R4. Access — The Responsible Entity shall maintain list(s) of personnel with authorized cyber or authorized | 4.1.3 Access to designated storage locations, whether physical or electronic, for BES Cyber System
unescorted physical access to Critical Cyber Assets, including their specific electronic and physical access rights to | Information.
Critical Cyber Assets. | 4.2 Verify at least once each calendar quarter that individuals with active electronic access or unescorted
R4.1 The Responsible Entity shall review the list(s) of its personnel who have such access to Critical Cyber Assets | physical access have authorization records.
quarterly, and update the list(s) within seven calendar days of any change of personnel with such access to | 4.3 For electronic access, verify at least once every 15 calendar months that all user accounts, user account
Critical Cyber Assets, or any change in the access rights of such personnel. The Responsible Entity shall ensure | groups, or user role categories, and their specific, associated privileges are correct and are those that the
access list(s) for contractors and service vendors are properly maintained. | Responsible Entity determines are necessary.
006‐3 R1. Physical Security Plan —The Responsible Entity shall document, implement, and maintain a physical | 4.4 Verify at least once every 15 calendar months that access to the designated storage locations for BES Cyber
security plan, approved by the senior manager or delegate(s) that shall address, at a minimum, the following: | System Information, whether physical or electronic, are correct and are those that the Responsible Entity
R1.5. Review of access authorization requests and revocation of access authorization, in accordance with CIP‐ | determines are necessary for performing assigned work functions.
004‐3 Requirement R4.
003‐3 R5. Access Control — The Responsible Entity shall document and implement a program for managing | 004‐5 R5. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects | X | [5 empty] | X |  |  | X | X
access to protected Critical Cyber Asset information. | deficiencies, one or more documented access revocation programs that collectively include each of the
R5.2. The Responsible Entity shall review at least annually the access privileges to protected information to | applicable requirement parts in CIP‐004‐5 Table R5 – Access Revocation.
confirm that access privileges are correct and that they correspond with the Responsible Entity’s needs and | 5.1 A process to initiate removal of an individual's ability for unescorted physical access and Interactive Remote
appropriate personnel roles and responsibilities. | Access upon a termination action, and complete the removals within 24 hours of the termination action
R5.3. The Responsible Entity shall assess and document at least annually the processes for controlling access | (Removal of the ability for access may be different than deletion, disabling, revocation, or removal of all access
privileges to protected information. | rights.)
004‐3 R4. Access —The Responsible Entity shall maintain list(s) of personnel with authorized cyber or authorized | 5.2 For reassignments or transfers, revoke the individual's authorized electronic access to individual accounts
unescorted physical access to Critical Cyber Assets, including their specific electronic and physical access rights to | and authorized unescorted physical access that the Responsible Entity determines are not necessary by the end
Critical Cyber Assets. | of the next calendar day following the date that the Responsible Entity determines that the individual no longer
R4.1. The Responsible Entity shall review the list(s) of its personnel who have such access to Critical Cyber | requires retention of that access.
Assets quarterly, and update the list(s) within seven calendar days of any change of personnel with such access to | 5.3 For terminations actions, revoke the individual's access to the designated storage locations for BES Cyber
Critical Cyber Assets, or any change in the access rights of such personnel. The Responsible Entity shall ensure | System Information, whether physical or electronic (unless already revoked according to Requirement R5.1), by
access list(s) for contractors and service vendors are properly maintained. | the end of the next calendar day following the effective date of the termination action.
R4.2. The Responsible Entity shall revoke such access to Critical Cyber Assets within 24 hours for personnel | 004‐5 R5. | X | [8 empty] | X
terminated for cause and within seven calendar days for personnel who no longer require such access to Critical | 5.4 For termination actions, revoke the individual's non‐shared user accounts (unless already revoked according
Cyber Assets. | to Parts 5.1 or 5.3) within 30 calendar days of the effective date of the termination action.
|  | High Impact BES | High Impact BES w/ Dial‐up | High Impact BES w/ ERC | Medium Impact BES | Medium Impact BES –CC | Medium Impact BES w/Dial‐up | Medium Impact BES w/ ERC | Medium Impact BES ‐ NO ERC | Low Impact BES | EACMS | PACS | PCA | EAP | Local hardware ‐ PSP
007‐3 R5. Account Management — The Responsible Entity shall establish, implement, and document technical | 004‐5 R5. | X | [8 empty] | X
and procedural controls that enforce access authentication of, and accountability for, all user activity, and that | 5.5 For termination actions, change passwords for shared account(s) known to the user within 30 calendar days
minimize the risk of unauthorized system access. | of the termination action. For reassignments or transfers, change passwords for shared account(s) known to the
R5.1. The Responsible Entity shall ensure that individual and shared system accounts and authorized access | user within 30 calendar days following the date the Responsible Entity determines that the individual no longer
permissions are consistent with the concept of “need to know” with respect to work functions performed. | requires retention of that access. If the Responsible Entity determines and documents that extenuating operating
R5.2. The Responsible Entity shall implement a policy to minimize and manage the scope and acceptable use of | circumstances require a longer time period, change the password(s) within 10 calendar days following the end of
administrator, shared, and other generic account privileges including factory default accounts. | the operating circumstances.
R5.2.1. The policy shall include the removal, disabling, or renaming of such accounts where possible. For such
accounts that must remain enabled, passwords shall be changed prior to putting any system into service.
R5.2.2. The Responsible Entity shall identify those individuals with access to shared accounts.
R5.2.3. Where such accounts must be shared, the Responsible Entity shall have a policy for managing the use
of such accounts that limits access to only those with authorization, an audit trail of the account use (automated
or manual), and steps for securing the account in the event of personnel changes (for example, change in
assignment or termination).
005‐3 R1. Electronic Security Perimeter — The Responsible Entity shall ensure that every Critical Cyber Asset | 005‐5 R1. Each Responsible Entity shall implement one or more documented processes that collectively include | X |  |  | X | [7 empty] | X
resides within an Electronic Security Perimeter. The Responsible Entity shall identify and document the Electronic | each of the applicable requirement parts in CIP‐005‐5 Table R1 – Electronic Security Perimeter.
Security Perimeter(s) and all access points to the perimeter(s). | 1.1 All applicable Cyber Assets connected to a network via a routable protocol shall reside within a defined ESP.
R1.2. For a dial‐up accessible Critical Cyber Asset that uses a non‐routable protocol, the Responsible Entity shall
define an Electronic Security Perimeter for that single access point at the dial‐up device.
R1.3. Communication links connecting discrete Electronic Security Perimeters shall not be considered part of
the Electronic Security Perimeter. However, end points of these communication links within the Electronic
Security Perimeter(s) shall be considered access points to the Electronic Security Perimeter(s).
R1.4. Any non‐critical Cyber Asset within a defined Electronic Security Perimeter shall be identified and
protected pursuant to the requirements of Standard CIP‐005‐3.
R1.5. Cyber Assets used in the access control and/or monitoring of the Electronic Security Perimeter(s) shall be
afforded the protective measures as a specified in Standard CIP‐003‐3; Standard CIP‐004‐3 Requirement R3;
Standard CIP‐005‐3 Requirements R2 and R3; Standard CIP‐006‐3 Requirement R3; Standard CIP‐007‐3
Requirements R1 and R3 through R9; Standard CIP‐008‐3; and Standard CIP‐009‐3.
R1.6. The Responsible Entity shall maintain documentation of Electronic Security Perimeter(s), all
interconnected Critical and non‐critical Cyber Assets within the Electronic Security Perimeter(s), all electronic
access points to the Electronic Securit
005‐3 R1. | 005‐5 R1 |  |  | X |  |  |  | X |  |  |  |  | X
R1.1. Access points to the Electronic Security Perimeter(s) shall include any externally connected | 1.2 All External Routable Connectivity must be through an identified Electronic Access Point (EAP).
communication end point (for example, dial‐up modems) terminating at any device within the Electronic Security
Perimeter(s).
005‐3 R2. Electronic Access Controls — The Responsible Entity shall implement and document the organizational | 005‐5 R1 | X | [5 empty] | X | [5 empty] | X
processes and technical and procedural mechanisms for control of electronic access at all electronic access points | 1.3 Require inbound and outbound access permissions, including the reason for granting access, and deny all
to the Electronic Security Perimeter(s). | other access by default.
R2.1. These processes and mechanisms shall use an access control model that denies access by default, such
that explicit access permissions must be specified.
005‐3 R2. Electronic Access Controls — The Responsible Entity shall implement and document the organizational | 005‐5 R1 |  | X |  |  |  | X | [5 empty] | X
processes and technical and procedural mechanisms for control of electronic access at all electronic access points | 1.4 Where technically feasible, perform authentication when establishing Dial‐up Connectivity with applicable
to the Electronic Security Perimeter(s). | Cyber Assets.
R2.3. The Responsible Entity shall implement and maintain a procedure for securing dial‐up access to the
Electronic Security Perimeter(s).
R2.4. Where external interactive access into the Electronic Security Perimeter has been enabled, the
Responsible Entity shall implement strong procedural or technical controls at the access points to ensure
authenticity of the accessing party, where technically feasible.
|  | High Impact BES | High Impact BES w/ Dial‐up | High Impact BES w/ ERC | Medium Impact BES | Medium Impact BES –CC | Medium Impact BES w/Dial‐up | Medium Impact BES w/ ERC | Medium Impact BES ‐ NO ERC | Low Impact BES | EACMS | PACS | PCA | EAP | Local hardware ‐ PSP
005‐3 R3. Monitoring Electronic Access | 005‐5 R1 | X |  |  |  | X | [7 empty] | X
The Responsible Entity shall implement and document an electronic or manual process(es) for monitoring and | 1.5 Have one or more methods for detecting known or suspected malicious communications for both inbound
logging access at access points to the Electronic Security Perimeter(s) twenty‐four hours a day, seven days a | and outbound communications.
week.
R3.1. For dial‐up accessible Critical Cyber Assets that use non‐routable protocols, the Responsible Entity shall
implement and document monitoring process(es) at each access point to the dial‐up device, where technically
feasible.
R3.2. Where technically feasible, the security monitoring process(es) shall detect and alert for attempts at or
actual unauthorized accesses. These alerts shall provide for appropriate notification to designated response
personnel. Where alerting is not technically feasible, the Responsible Entity shall review or otherwise assess
access logs for attempts at or actual unauthorized accesses at least every ninety calendar days.
005‐3 R2. Electronic Access Controls — The Responsible Entity shall implement and document the organizational | 005‐5 R2. Each Responsible Entity allowing Interactive Remote Access to BES Cyber Systems shall implement one | X | [5 empty] | X |  |  |  |  | X
processes and technical and procedural mechanisms for control of electronic access at all electronic access points | or more documented processes that collectively include the applicable requirement parts, where technically
to the Electronic Security Perimeter(s). | feasible:
R2.1. These processes and mechanisms shall use an access control model that denies access by default, such | 2.1 Utilize an Intermediate System such that the Cyber Asset initiating Interactive Remote Access does not
that explicit access permissions must be specified. | directly access an applicable Cyber Asset.
R2.2. At all access points to the Electronic Security Perimeter(s), the Responsible Entity shall enable only ports | 2.2 For all Interactive Remote Access sessions, utilize encryption that terminates at an Intermediate System.
and services required for operations and for monitoring Cyber Assets within the Electronic Security Perimeter, | 2.3 Require multi‐factor authentication for all Interactive Remote Access sessions.
and shall document, individually or by
specified grouping, the configuration of those ports and services.
R2.3. The Responsible Entity shall implement and maintain a procedure for securing dial‐up access to the
Electronic Security Perimeter(s).
R2.4. Where external interactive access into the Electronic Security Perimeter has been enabled, the
Responsible Entity shall implement strong procedural or technical controls at the access points to ensure
authenticity of the accessing party, where technically feasible.
R2.5. The required documentation shall, at least, identify and describe:
R2.5.1. The processes for access request and authorization.
R2.5.2. The authentication methods.
R2.5.3. The review process for authorization rights, in accordance with Standard CIP‐004‐3 Requirement R4.
R2.5.4. The controls used to secure dial‐up accessible connections.
006‐3 R1. Physical Security Plan — The Responsible Entity shall document, implement, and maintain a physical | 006‐5 R1. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects | X | [5 empty] | X | X |  |  |  | X
security plan, approved by the senior manager or delegate(s) that shall address, at a minimum, the following: | deficiencies, one or more documented physical security plans that collectively include all of the applicable
R1.1. All Cyber Assets within an Electronic Security Perimeter shall reside within an identified Physical Security | requirement parts in CIP‐006‐5 Table R1 – Physical Security Plan.
Perimeter. Where a completely enclosed (“six‐wall”) border cannot be established, the Responsible Entity shall | 1.1 Define operational or procedural controls to restrict physical access.
deploy and document alternative measures to control physical access to such Cyber Assets.
R1.2. Identification of all physical access points through each Physical Security Perimeter and measures to
control entry at those access points.
R1.3. Processes, tools, and procedures to monitor physical access to the perimeter(s).
R1.4. Appropriate use of physical access controls as described in Requirement R4 including visitor pass
management, response to loss, and prohibition of inappropriate use of physical access controls.
R1.5. Review of access authorization requests and revocation of access authorization, in accordance with CIP‐
004‐3 Requirement R4.
R1.6. A visitor control program for visitors (personnel without authorized unescorted access to a Physical
Security Perimeter), containing at a minimum the following:
R1.6.1. Logs (manual or automated) to document the entry and exit of visitors, including the date and time, to
and from Physical Security Perimeters.
R1.6.2. Continuous escorted access of visitors within the Physical Security Perimeter.
R1.7. Update of the physical security plan within thirty calendar days of the completion of any physical security
system redesign or reconfiguration, including, but not limited to, addition or removal of access points through
the Physical Security Perimeter, physical access controls, monitoring controls, or logging controls.
R1.8. Annual review of the physical security plan.
|  | High Impact BES | High Impact BES w/ Dial‐up | High Impact BES w/ ERC | Medium Impact BES | Medium Impact BES –CC | Medium Impact BES w/Dial‐up | Medium Impact BES w/ ERC | Medium Impact BES ‐ NO ERC | Low Impact BES | EACMS | PACS | PCA | EAP | Local hardware ‐ PSP
006‐3 R4. Physical Access Controls — The Responsible Entity shall document and implement the operational and | 006‐5 R1. | [6 empty] | X |  |  | X |  | X
procedural controls to manage physical access at all access points to the Physical Security Perimeter(s) twentyfour | 1.2 Utilize at least one physical access control to allow unescorted physical access into each applicable Physical
hours a day, seven days a week. The Responsible Entity shall implement one or more of the following | Security Perimeter to only those individuals who have authorized unescorted physical access.
physical access methods: | 1.3 Where technically feasible, utilize two or more different physical access controls (this does not require two
‐ Card Key: A means of electronic access where the access rights of the card holder are predefined in a | completely independent physical access control systems) to collectively allow unescorted physical access into
computer database. Access rights may differ from one perimeter to another. | Physical Security Perimeters to only those individuals who have authorized unescorted physical access.
‐ Special Locks: These include, but are not limited to, locks with “restricted key” systems, magnetic locks that
can be operated remotely, and “man‐trap” systems.
006‐3 R5 Monitoring Physical Access — The Responsible Entity shall document and implement the technical and | 006‐5 R1. | X | [5 empty] | X |  |  | X |  | X
procedural controls for monitoring physical access at all access points to the Physical Security Perimeter(s) | 1.4 Monitor for unauthorized access through a physical access point into a Physical Security Perimeter.
twenty‐four hours a day, seven days a week. Unauthorized access attempts shall be reviewed immediately and | 1.5 Issue an alarm or alert in response to detected unauthorized access through a physical access point into a
handled in accordance with the procedures specified in Requirement CIP‐008‐3. One or more of the following | Physical Security Perimeter to the personnel identified in the BES Cyber Security Incident response plan within 15
monitoring methods shall be used: | minutes of detection.
‐ Alarm Systems: Systems that alarm to indicate a door, gate or window has been opened without | 1.6 Monitor each Physical Access Control System for unauthorized physical access to a Physical Access Control
authorization. These alarms must provide for immediate notification to personnel responsible for response. | System.
‐ Human Observation of Access Points: Monitoring of physical access points by authorized personnel as | 1.7 Issue an alarm or alert in response to detected unauthorized physical access to a Physical Access Control
specified in Requirement R4. | System to the personnel identified in the BES Cyber Security Incident response plan within 15 minutes of the
‐ Security Personnel: Personnel responsible for controlling physical access who may reside on‐site or at a | detection.
monitoring station.
‐ Other Authentication Devices: Biometric, keypad, token, or other equivalent devices that control physical
access to the Critical Cyber Assets.
006‐3 R6. Logging Physical Access — Logging shall record sufficient information to uniquely identify individuals | 006‐5 R1. | X | [5 empty] | X |  |  | X |  | X
and the time of access twenty‐four hours a day, seven days a week. The Responsible Entity shall implement and | 1.8 Log (through automated means or by personnel who control entry) entry of each individual with authorized
document the technical and procedural mechanisms for logging physical entry at all access points to the Physical | unescorted physical access into each Physical Security Perimeter, with information to identify the individual and
Security Perimeter(s) using one or more of the following logging methods or their equivalent: | date and time of entry.
‐ Computerized Logging: Electronic logs produced by the Responsible Entity’s selected access control and
monitoring method.
‐ Video Recording: Electronic capture of video images of sufficient quality to determine identity.
‐ Manual Logging: A log book or sign‐in sheet, or other record of physical access maintained by security or other
personnel authorized to control and monitor physical access as specified in Requirement R4.
006‐3 R7. Access Log Retention — The Responsible Entity shall retain physical access logs for at least ninety | 006‐5 R1. | X | [5 empty] | X |  |  | X |  | X
calendar days. Logs related to reportable incidents shall be kept in accordance with the requirements of Standard | 1.9 Retain physical access logs of entry of individuals with authorized unescorted physical access into each
CIP‐008‐3. | Physical Security Perimeter for at least ninety calendar days.
|  | High Impact BES | High Impact BES w/ Dial‐up | High Impact BES w/ ERC | Medium Impact BES | Medium Impact BES –CC | Medium Impact BES w/Dial‐up | Medium Impact BES w/ ERC | Medium Impact BES ‐ NO ERC | Low Impact BES | EACMS | PACS | PCA | EAP | Local hardware ‐ PSP
006‐3 R1. Physical Security Plan ‐ The Responsible Entity shall document, implement, and maintain a physical | 006‐5 R2. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects | X | [5 empty] | X |  |  | X |  | X
security plan, approved by the senior manager or delegate(s) that shall address, at a minimum, the following: | deficiencies, one or more documented visitor control programs that include each of the applicable requirement
R1.1. All Cyber Assets within an Electronic Security Perimeter shall reside within an identified Physical Security | parts in CIP‐006‐5 Table R2 – Visitor Control Program.
Perimeter. Where a completely enclosed (“six‐wall”) border cannot be established, the Responsible Entity shall | 2.1 Require continuous escorted access of visitors (individuals who are provided access but are not authorized
deploy and document alternative measures to control physical access to such Cyber Assets. | for unescorted physical access) within each Physical Security Perimeter, except during CIP Exceptional
R1.2. Identification of all physical access points through each Physical Security Perimeter and measures to | Circumstances.
control entry at those access points. | 2.2 Require manual or automated logging of visitor entry into and exit from the Physical Security Perimeter that
R1.3. Processes, tools, and procedures to monitor physical access to the perimeter(s). | includes date and time of the initial entry and last exit, the visitor’s name, and the name of an individual point of
R1.4. Appropriate use of physical access controls as described in Requirement R4 including visitor pass | contact responsible for the visitor, except during CIP Exceptional Circumstances.
management, response to loss, and prohibition of inappropriate use of physical access controls. | 2.3 Retain visitor logs for at least ninety calendar days.
R1.5. Review of access authorization requests and revocation of access authorization, in accordance with CIP‐
004‐3 Requirement R4.
R1.6. A visitor control program for visitors (personnel without authorized unescorted access to a Physical
Security Perimeter), containing at a minimum the following:
R1.6.1. Logs (manual or automated) to document the entry and exit of visitors, including the date and time, to
and from Physical Security Perimeters.
R1.6.2. Continuous escorted access of visitors within the Physical Security Perimeter.
R1.7. Update of the physical security plan within thirty calendar days of the completion of any physical security
system redesign or reconfiguration, including, but not limited to, addition or removal of access points through
the Physical Security Perimeter, physical access controls, monitoring controls, or logging controls.
R1.8. Annual review of the physical security plan.
006‐3 R8. Maintenance and Testing — The Responsible Entity shall implement a maintenance and testing | 006‐5 R3. Each Responsible Entity shall implement one or more documented Physical Access Control System | X | [5 empty] | X |  |  |  | X |  |  | X
program to ensure that all physical security systems under Requirements R4, R5, and R6 function properly. The | maintenance and testing programs that collectively include each of the applicable requirement parts in CIP‐006‐5
program must include, at a minimum, the following: | Table R3 – Maintenance and Testing Program.
8.1. Testing and maintenance of all physical security mechanisms on a cycle no longer than three years. | 3.1 Maintenance and testing of each Physical Access Control System and locally mounted hardware or devices
8.2. Retention of testing and maintenance records for the cycle determined by the Responsible Entity in | at the Physical Security Perimeter at least once every 24 calendar months to ensure they function properly.
Requirement R8.1.
8.3. Retention of outage records regarding access controls, logging, and monitoring for a minimum of one
calendar year.
007‐3 R2. Ports and Services | 007‐5 R1. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects | X | [5 empty] | X |  |  | X | X | X
The Responsible Entity shall establish, document and implement a process to ensure that only those ports and | deficiencies, one or more documented processes that collectively include each of the applicable requirement
services required for normal and emergency operations are enabled. | parts in CIP‐007‐5 Table R1 – Ports and Services.
R2.1. The Responsible Entity shall enable only those ports and services required for normal and emergency | 1.1 Where technically feasible, enable only logical network accessible ports that have been determined to be
operations. | needed by the Responsible Entity, including port ranges or services where needed to handle dynamic ports. If a
R2.2. The Responsible Entity shall disable other ports and services, including those used for testing purposes, | device has no provision for disabling or restricting logical ports on the device then those ports are open are
prior to production use of all Cyber Assets inside the Electronic Security Perimeter(s). | deemed needed.
R2.3. In the case where unused ports and services cannot be disabled due to technical limitations, the
Responsible Entity shall document compensating measure(s) applied to mitigate risk exposure. | 007‐5 R1. | X |  |  | X
1.2 Protect against the use of unnecessary physical input/output ports used for network connectivity, console
commands, or removable media.
|  | High Impact BES | High Impact BES w/ Dial‐up | High Impact BES w/ ERC | Medium Impact BES | Medium Impact BES –CC | Medium Impact BES w/Dial‐up | Medium Impact BES w/ ERC | Medium Impact BES ‐ NO ERC | Low Impact BES | EACMS | PACS | PCA | EAP | Local hardware ‐ PSP
007‐3 R3. Security Patch Management ‐ The Responsible Entity, either separately or as a component of the | 007‐5 R2. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects | X |  |  | X | [5 empty] | X | X | X
documented configuration management process specified in CIP‐003‐3 Requirement R6, shall establish, | deficiencies, one or more documented processes that collectively include each of the applicable requirement
document and implement a security patch management program for tracking, evaluating, testing, and installing | parts in CIP‐007‐5 Table R2 – Security Patch Management.
applicable cyber security software patches for all Cyber Assets within the Electronic Security Perimeter(s). | 2.1 A patch management process for tracking, evaluating, and installing cyber security patches for applicable
R3.1. The Responsible Entity shall document the assessment of security patches and security upgrades for | Cyber Assets. The tracking portion shall include the identification of a source or sources that the Responsible
applicability within thirty calendar days of availability of the patches or upgrades. | Entity tracks for the release of cyber security patches for applicable Cyber Assets that are updateable and for
R3.2. The Responsible Entity shall document the implementation of security patches. In any case where the | which a patching source exists.
patch is not installed, | 2.2 At least once every 35 calendar days, evaluate security patches for applicability that have been released
since the last evaluation from the source or sources identified in Part 2.1
2.3 For applicable patches identified in Part 2.2, within 35 calendar days of evaluation completion, take one of
the following actions:
• Apply the applicable patches; or
• Create a dated mitigation plan; or
• Revise an existing mitigation plan.
Mitigation plans shall include the Responsible Entity's planned actions to mitigate the vulnerabilities addressed
by each security patch and a timeframe to complete these mitigations.
2.4 For each mitigation plan created or revised in Part 2.3, implement the plan within the timeframe specified
in the plan, unless a revision to the plan or an extension to the timeframe specified in Part 2.3 is approved by the
CIP Senior Manager or delegate.
007‐3 R4. Malicious Software Prevention — The Responsible Entity shall use anti‐virus software and other | 007‐5 R3. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects | X |  |  | X | [5 empty] | X | X | X
malicious software (“malware”) prevention tools, where technically feasible, to detect, prevent, deter, and | deficiencies, one or more documented processes that collectively include each of the applicable requirement
mitigate the introduction, exposure, and propagation of malware on all Cyber Assets within the Electronic | parts in CIP‐007‐5 Table R3 – Malicious Code Prevention.
Security Perimeter(s). | 3.1 Deploy method(s) to deter, detect, or prevent malicious code.
R4.1 The Responsible Entity shall document and implement anti‐virus and malware prevention tools. In the | 3.2 Mitigate the threat of detected malicious code.
case where anti‐virus software and malware prevention tools are not installed, the Responsible Entity shall | 3.3 For those methods identified in Part 3.1 that use signatures or patterns, have a process for the updated of
document compensating measure(s) applied to mitigate risk exposure. | the signatures or patterns. The process must address testing and installing the signatures or patterns.
R4.2 The Responsible Entity shall document and implement a process for the update of anti‐virus and malware
prevention “signatures.” The process must address testing and installing the signatures.
007‐3 R6. Security Status Monitoring ‐ The Responsible Entity shall ensure that all Cyber Assets within the | 007‐5 R4. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects | X |  |  | X | [5 empty] | X | X | X
Electronic Security Perimeter, as technically feasible, implement automated tools or organizational process | deficiencies, one or more documented processes that collectively include each of the applicable requirement
controls to monitor system events that are related to cyber security. | parts in CIP‐007‐5 Table R4 – Security Event Monitoring.
R6.1. The Responsible Entity shall implement and document the organizational processes and technical and | 4.1 Log events at the BES Cyber System level (per BES Cyber System capability) or at the Cyber Asset level (per
procedural mechanisms for monitoring for security events on all Cyber Assets within the Electronic Security | Cyber Asset capability) for identification of, and after‐the‐fact investigations of, Cyber Security Incidents that
Perimeter. | includes, as a minimum, each of the following types of events:
R6.2. The security monitoring controls shall issue automated or manual alerts for detected Cyber Security | 4.1.1 Detected successful login attempts;
Incidents. | 4.1.2 Detected failed access attempts and failed login attempts;
R6.3. The Responsible Entity shall maintain logs of system events related to cyber security, where technically | 4.1.3 Detected malicious code.
feasible, to support incident response as required in Standard CIP‐008‐3.
R6.4. The Responsible Entity shall retain all logs specified in Requirement R6 for ninety calendar days. | 007‐5 R4. | X | [5 empty] | X |  |  | X | X | X
R6.5. The Responsible Entity shall review logs of system events related to cyber security and maintain records | 4.2 Generate alerts for security events that the Responsible Entity determines necessitates, an alert, that
documenting review of logs. | includes, as a minimum, each of the following types of events (per Cyber Asset or BES Cyber System capability):
4.2.1 Detected malicious code from Part 4.1; and
4.2.2 Detected failure of Part 4.1 event logging.
| 007‐5 R4. | X |  |  |  | X |  |  |  |  | X | X | X
4.3 Where technically feasible, retain applicable event logs identified in Part 4.1 for at least the last 90
consecutive calendar days except under CIP Exceptional Circumstances.
| 007‐5 R4. | X | [8 empty] | X |  | X
4.4 Review and summarization of sampling of logged events as determined by the Responsible Entity at
intervals no greater than 15 calendar days to identify undetected Cyber Security Incidents.
|  | High Impact BES | High Impact BES w/ Dial‐up | High Impact BES w/ ERC | Medium Impact BES | Medium Impact BES –CC | Medium Impact BES w/Dial‐up | Medium Impact BES w/ ERC | Medium Impact BES ‐ NO ERC | Low Impact BES | EACMS | PACS | PCA | EAP | Local hardware ‐ PSP
007‐3 R5. Account Management — The Responsible Entity shall establish, implement, and document technical | 007‐5 R5. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects | X |  |  |  | X |  | X |  |  | X | X | X
and procedural controls that enforce access authentication of, and accountability for, all user activity, and that | deficiencies, one or more documented processes that collectively include each of the applicable requirement
minimize the risk of unauthorized system access. | parts in CIP‐007‐5 Table R5 – System Access Controls.
R5.1 The Responsible Entity shall ensure that individual and shared system accounts and authorized access | 5.1 Have a method(s) to enforce authentication of interactive user access, where technically feasible.
permissions are consistent with the concept of “need to know” with respect to work functions performed
R5.1.1 The Responsible Entity shall ensure that user accounts are implemented as approved by designated | 007 R5. | X |  |  | X | [5 empty] | X | X | X
personnel. Refer to Standard CIP‐003‐3 Requirement R5. | 5.2 Identify and inventory all known enabled default or other generic account types, either by system, by
R5.1.2 The Responsible Entity shall establish methods, processes, and procedures that generate logs of | grouped of systems, by location, or by system type(s).
sufficient detail to create historical audit trails of individual user account access activity for a minimum of ninety
days. | 007 R5. | X | [5 empty] | X |  |  | X | X | X
R5.1.3 The Responsible Entity shall review, at least annually, user accounts to verify access privileges are in | 5.3 Identify individuals who have authorized access to shared accounts.
accordance with Standard CIP‐003‐3 Requirement R5 and Standard CIP‐004‐3 Requirement R4.
R5.2 The Responsible Entity shall implement a policy to minimize and manage the scope and acceptable use of | 007 R5. | X |  |  | X | [5 empty] | X | X | X
administrator, shared, and other generic account privileges including factory default accounts. | 5.4 Change known default passwords, per Cyber Asset capability
R5.2.1 The policy shall include the removal, disabling, or renaming of such accounts where possible. For such | 5.5 For password‐only authentication for interactive user access, either technically or procedurally enforce the
accounts that must remain enabled, passwords shall be changed prior to putting any system into service. | following password parameters:
R5.2.2 The Responsible Entity shall identify those individuals with access to shared accounts. | 5.5.1 Password length that is, at least, the lesser of eight characters or the maximum length supported by the
R5.2.3 Where such accounts must be shared, the Responsible Entity shall have a policy for managing the use | Cyber Asset; and
of such accounts that limits access to only those with authorization, an audit trail of the account use (automated | 5.5.2 Minimum password complexity that is the lesser of three or more different types of characters (e.g.,
or manual), and steps for securing the account in the event of personnel changes (for example, change in | uppercase alphabetic, lowercase alphabetic, numeric, non‐alphanumeric) or the maximum complexity supported
assignment or termination). | by the Cyber Asset.
R5.3 At a minimum, the Responsible Entity shall require and use passwords, subject to the following, as
technically feasible: | 007 R5. | X | [5 empty] | X |  |  | X | X | X
R5.3.1 Each password shall be a minimum of six characters. | 5.6 Where technically feasible, for password‐only authentication for interactive user access, either technically
R5.3.2 Each password shall consist of a combination of alpha, numeric, and “special” characters. | or procedurally enforce password changes or an obligation to change the password at least once every 15
R5.3.3 Each password shall be changed at least annually, or more frequently based on risk. | calendar months.
| 007 R5. | X |  |  |  | X |  |  |  |  | X | X | X
5.7 Where technically feasible, either:
• Limit the number of unsuccessful authentication attempts; or
• Generate alerts after a threshold of unsuccessful authentication attempts.
008‐3 R1. Cyber Security Incident Response Plan — The Responsible Entity shall develop and maintain a Cyber | 008‐5 R1. Each Responsible Entity shall document one or more Cyber Security Incident response plan(s) that | X |  |  | X
Security Incident response plan and implement the plan in response to Cyber Security Incidents. The Cyber | collectively include each of the applicable requirement parts in CIP‐008‐5 Table R1 – Cyber Security Incident
Security Incident response plan shall address, at a minimum, the following: | Response Plan Specifications.
R1.1. Procedures to characterize and classify events as reportable Cyber Security Incidents. | 1.1 One or more processes to identify, classify, and respond to Cyber Security Incidents.
R1.2. Response actions, including roles and responsibilities of Cyber Security Incident response teams, Cyber | 1.2 One or more processes to determine if an identified Cyber Security Incident is a Reportable Cyber Security
Security Incident handling procedures, and communication plans. | Incident and notify the Electricity Sector Information Sharing and Analysis Center (ES‐ISAC), unless prohibited by
R1.3. Process for reporting Cyber Security Incidents to the Electricity Sector Information Sharing and Analysis | law. Initial notification to the ES‐ISAC, which may be only a preliminary notice, shall not exceed one hour from
Center (ES‐ISAC). The Responsible Entity must ensure that all reportable Cyber Security Incidents are reported to | the determination of a Reportable Cyber Security Incident.
the ES‐ISAC either directly or through an intermediary. | 1.3 The roles and responsibilities of Cyber Security Incident response groups or individuals.
1.4 Incident handling procedures for Cyber Security Incidents.
|  | High Impact BES | High Impact BES w/ Dial‐up | High Impact BES w/ ERC | Medium Impact BES | Medium Impact BES –CC | Medium Impact BES w/Dial‐up | Medium Impact BES w/ ERC | Medium Impact BES ‐ NO ERC | Low Impact BES | EACMS | PACS | PCA | EAP | Local hardware ‐ PSP
008‐3 R1. Cyber Security Incident Response Plan ‐ The Responsible Entity shall develop and maintain a Cyber | 008‐5 R2. Each Responsible Entity shall implement each of its documented Cyber Security Incident response | X |  |  | X
Security Incident response plan and implement the plan in response to Cyber Security Incidents. The Cyber | plans to collectively include each of the applicable requirement parts in CIP‐008‐5 Table R2 – Cyber Security
Security Incident response plan shall address, at a minimum, the following: | Incident Response Plan Implementation and Testing.
R1.5. Process for ensuring that the Cyber Security Incident response plan is reviewed at least annually. | 2.1 Test each Cyber Security Incident response plan(s) at least once every 15 calendar months:
R1.6. Process for ensuring the Cyber Security Incident response plan is tested at least annually. A test of the | ‐ By responding to an actual Reportable Cyber Security Incident;
Cyber Security Incident response plan can range from a paper drill, to a full operational exercise, to the response | ‐ With a paper drill or tabletop exercise of a Reportable Cyber Security Incident; or
to an actual incident. | ‐ With an operational exercise of a Reportable Cyber Security Incident.
008‐3 R2. Cyber Security Incident Documentation ‐ The Responsible Entity shall keep relevant documentation | 2.2 Use the Cyber Security Incident response plan(s) under Requirement R1 when responding to a Reportable
related to Cyber Security Incidents reportable per Requirement R1.1 for three calendar years. | Cyber Security Incident or performing an exercise of a Reportable Cyber Security Incident. Document deviations
from the plan(s) taken during the response to the incident or exercise.
2.3 Retain records related to Reportable Cyber Security Incidents.
008‐3 R1. | 008‐5 R3. Each Responsible Entity shall maintain each of its Cyber Security Incident response plans according to | X |  |  | X
R1.4. Process for updating the Cyber Security Incident response plan within thirty calendar days of any changes. | each of the applicable requirement parts in CIP‐008‐5 Table R3 – Cyber Security Incident Response Plan Review,
Update, and Communication.
3.1 No later than 90 calendar days after completion of a Cyber Security Incident response plan(s) test or actual
Reportable Cyber Security Incident response:
3.1.1. Document any lessons learned or document the absence of any lessons learned;
3.1.2. Update the Cyber Security Incident response plan based on any documented lessons learned associated
with the plan; and
3.1.3. Notify each person or group with a defined role in the Cyber Security Incident response plan of the
updates to the Cyber Security Incident response plan based on any documented lessons learned.
3.2 No later than 60 calendar days after a change to the roles or responsibilities, Cyber Security Incident
response groups or individuals, or technology that the Responsible Entity determines would impact the ability to
execute the plan:
3.2.1. Update the Cyber Security Incident response plan(s); and
3.2.2. Notify each person or group with a defined role in the Cyber Security Incident response plan of the
updates.
009‐3 R1. Recovery Plans — The Responsible Entity shall create and annually review recovery plan(s) for Critical | 009‐5 R1. Each Responsible Entity shall have one or more documented recovery plans that collectively include | X |  |  | X | [5 empty] | X | X
Cyber Assets. The recovery plan(s) shall address at a minimum the following: | each of the applicable requirement parts in CIP‐009‐5 Table R1 – Recovery Plan Specifications.
R1.1. Specify the required actions in response to events or conditions of varying duration and severity that | 1.1 Conditions for activation of the recovery plan(s).
would activate the recovery plan(s). | 1.2 Roles and responsibilities of responders.
R1.2. Define the roles and responsibilities of responders. | 1.3 One or more processes for the backup and storage of information required to recover BES Cyber System
009‐3 R4. Backup and Restore — The recovery plan(s) shall include processes and procedures for the backup and | functionality.
storage of information required to successfully restore Critical Cyber Assets. For example, backups may include
spare electronic components or equipment, written documentation of configuration settings, tape backup, etc. | 009‐5 R1. | X |  |  |  | X |  |  |  |  | X | X
1.4 One or more processes to verify the successful completion of the backup processes in Part 1.3 and to
address any backup failures..
009‐5 R1.
| 1.5 One or more processes to preserve data, per Cyber Asset capability, for determining the cause of a Cyber | X |  |  | X | [5 empty] | X | X
Security Incident that triggers activation of the recovery plan(s). Data preservation should not impede or restrict
recovery.
|  | High Impact BES | High Impact BES w/ Dial‐up | High Impact BES w/ ERC | Medium Impact BES | Medium Impact BES –CC | Medium Impact BES w/Dial‐up | Medium Impact BES w/ ERC | Medium Impact BES ‐ NO ERC | Low Impact BES | EACMS | PACS | PCA | EAP | Local hardware ‐ PSP
009‐3 R2. Exercises — The recovery plan(s) shall be exercised at least annually. An exercise of the recovery | 009‐5 R2. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects | X |  |  |  | X |  |  |  |  | X | X
plan(s) can range from a paper drill, to a full operational exercise, to recovery from an actual incident. | deficiencies, its documented recovery plan(s) to collectively include each of the applicable requirement parts in
009‐3 R5. Testing Backup Media — Information essential to recovery that is stored on backup media shall be | CIP‐009‐5 Table R2 – Recovery Plan Implementation and Testing.
tested at least annually to ensure that the information is available. Testing can be completed off site. | 2.1 Test each of the recovery plans referenced in Requirement R1 at least once every 15 calendar months:
‐ By recovering from an actual incident;
‐ With a paper drill or tabletop exercise; or
‐ With an operational exercise.
2.2 Test a representative sample of information used to recover BES Cyber System functionality at least once
every 15 calendar months to ensure that the information is useable and is compatible with current
configurations. An actual recovery that incorporates the information used to recover BES Cyber System
functionality substitutes for this test.
| 009‐5 R2. | X
2.3 Test each of the recovery plans referenced in Requirement R1 at least once every 36 calendar months
through an operational exercise of the recovery plans in an environment representative of the production
environment. An actual recovery response may substitute for an operational exercise.
009‐3 R3. Change Control — Recovery plan(s) shall be updated to reflect any changes or lessons learned as a | 009‐5 R3. Each Responsible Entity shall maintain each of its recovery plans in accordance with each of the | X |  |  |  | X |  |  |  |  | X | X
result of an exercise or the recovery from an actual incident. Updates shall be communicated to personnel | applicable requirement parts in CIP‐009‐5 Table R3 – Recovery Plan Review, Update and Communication.
responsible for the activation and implementation of the recovery plan(s) within thirty calendar days of the | 3.1 No later than 90 calendar days after completion of a recovery plan test or actual recovery:
change being completed. | 3.1.1. Document any lessons learned associated with a recovery plan test or actual recovery or document the
absence of any lessons learned;
3.1.2. Update the recovery plan based on any documented lessons learned associated with the plan; and
3.1.3. Notify each person or group with a defined role in the recovery plan of the updates to the recovery plan
based on any documented lessons learned.
3.2 No later than 60 calendar days after a change to the roles or responsibilities, responders, or technology
that the Responsible Entity determines would impact the ability to execute the recovery plan:
3.2.1. Update the recovery plan; and
3.2.2. Notify each person or group with a defined role in the recovery plan of the updates.
003‐3 R6. Change Control and Configuration Management — The Responsible Entity shall establish and | 010‐1 R1. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects | X |  |  | X | [5 empty] | X | X | X
document a process of change control and configuration management for adding, modifying, replacing, or | deficiencies, one or more documented processes that collectively include each of the applicable requirement
removing Critical Cyber Asset hardware or software, and implement supporting configuration management | parts in CIP‐010‐1 Table R1 – Configuration Change Management.
activities to identify, control and document all entity or vendor‐related changes to hardware and software | 1.1 Develop a baseline configuration, individually or by group, which shall include the following items:
components of Critical Cyber Assets pursuant to the change control process. | 1.1.1. Operating system(s) (including version) or firmware where no independent operating system exists;
005‐3 R2. Electronic Access Controls — The Responsible Entity shall implement and document the organizational | 1.1.2. Any commercially available or open‐source application software (including version) intentionally
processes and technical and procedural mechanisms for control of electronic access at all electronic access points | installed;
to the Electronic Security Perimeter(s). | 1.1.3. Any custom software installed;
R2.2. At all access points to the Electronic Security Perimeter(s), the Responsible Entity shall enable only ports | 1.1.4. Any logical network accessible ports; and
and services required for operations and for monitoring Cyber Assets within the Electronic Security Perimeter, | 1.1.5. Any security patches applied.
and shall document, individually or by specified grouping, the configuration of those ports and services. | 1.2 Authorize and document changes that deviate from the existing baseline configuration.
|  | High Impact BES | High Impact BES w/ Dial‐up | High Impact BES w/ ERC | Medium Impact BES | Medium Impact BES –CC | Medium Impact BES w/Dial‐up | Medium Impact BES w/ ERC | Medium Impact BES ‐ NO ERC | Low Impact BES | EACMS | PACS | PCA | EAP | Local hardware ‐ PSP
005‐3 R5. Documentation Review and Maintenance — The Responsible Entity shall review, update, and maintain | 010‐1 R1. | X |  | X | [6 empty] | X | X | X
all documentation to support compliance with the requirements of Standard CIP‐005‐3. | 1.3 For a change that deviates from the existing baseline configuration, update the baseline configuration as
R5.1. The Responsible Entity shall ensure that all documentation required by Standard CIP‐005‐3 reflect current | necessary within 30 calendar days of completing the change.
configurations and processes and shall review the documents and procedures referenced in Standard CIP‐005‐3
at least annually.
R5.2. The Responsible Entity shall update the documentation to reflect the modification of the network or
controls within ninety calendar days of the change.
R5.3. The Responsible Entity shall retain electronic access logs for at least ninety calendar days. Logs related to
reportable incidents shall be kept in accordance with the requirements of Standard CIP‐008‐3.
007‐3 R9. Documentation Review and Maintenance — The Responsible Entity shall review and update the
documentation specified in Standard CIP‐007‐3 at least annually. Changes resulting from modifications to the
systems or controls shall be documented within thirty calendar days of the change being completed.
007‐3 R1. Test Procedures — The Responsible Entity shall ensure that new Cyber Assets and significant changes | 010‐1 R1. | X |  |  | X | [5 empty] | X | X | X
to existing Cyber Assets within the Electronic Security Perimeter do not adversely affect existing cyber security | 1.4 For a change that deviates from the existing baseline configuration:
controls. For purposes of Standard CIP‐007‐3, a significant change shall, at a minimum, include implementation of | 1.4.1. Prior to the change, determine required cyber security controls in CIP‐005 and CIP‐007 that could be
security patches, cumulative service packs, vendor releases, and version upgrades of operating systems, | impacted by the change;
applications, database platforms, or other third‐party software or firmware. | 1.4.2. Following the change, verify that required cyber security controls determined in 1.4.1 are not adversely
R1.1. The Responsible Entity shall create, implement, and maintain cyber security test procedures in a manner | affected; and
that minimizes adverse effects on the production system or its operation. | 1.4.3. Document the results of the verification.
R1.2. The Responsible Entity shall document that testing is performed in a manner that reflects the production
environment. | 010‐1 R1. | X
R1.3. The Responsible Entity shall document test results. | 1.5 Where technically feasible, for each change that deviates from the existing baseline configuration:
1.5.1. Prior to implementing any change in the production environment, test the changes in a test
environment or test the changes in a production environment where the test is performed in a manner that
minimizes adverse effects, that models the baseline configuration to ensure that required cyber security controls
in CIP‐005 and CIP‐007 are not adversely affected; and
1.5.2. Document the results of the testing and, if a test environment was used, the differences between the
test environment and the production environment, including a description of the measures used to account for
any differences in operation between the test and production environments.
003‐3 R6. Change Control and Configuration Management — The Responsible Entity shall establish and | 010‐1 R2. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects | X | [8 empty] | X |  | X
document a process of change control and configuration management for adding, modifying, replacing, or | deficiencies, one or more documented processes that collectively include each of the applicable requirement
removing Critical Cyber Asset hardware or software, and implement supporting configuration management | parts in CIP‐010‐1 Table R2 – Configuration Monitoring.
activities to identify, control and document all entity or vendor‐related changes to hardware and software | 2.1 Monitor at least once every 35 calendar days for changes to the baseline configuration (as described in
components of Critical Cyber Assets pursuant to the change control process. | Requirement R1, Part 1.1). Document and investigate detected unauthorized changes.
|  | High Impact BES | High Impact BES w/ Dial‐up | High Impact BES w/ ERC | Medium Impact BES | Medium Impact BES –CC | Medium Impact BES w/Dial‐up | Medium Impact BES w/ ERC | Medium Impact BES ‐ NO ERC | Low Impact BES | EACMS | PACS | PCA | EAP | Local hardware ‐ PSP
005‐3 R4. Cyber Vulnerability Assessment — The Responsible Entity shall perform a cyber vulnerability | 010‐1 R3. Each Responsible Entity shall implement one or more documented processes that collectively include | X |  |  | X | [5 empty] | X | X | X
assessment of the electronic access points to the Electronic Security Perimeter(s) at least annually. The | each of the applicable requirement parts in CIP‐010‐1 Table R3– Vulnerability Assessments.
vulnerability assessment shall include, at a minimum, the following: | 3.1 At least once every 15 calendar months, conduct a paper or active vulnerability assessment.
R4.1. A document identifying the vulnerability assessment process; | 010‐1 R3. | X
R4.2. A review to verify that only ports and services required for operations at these access points are enabled; | 3.2 Where technically feasible, at least once every 36 calendar months:
R4.3. The discovery of all access points to the Electronic Security Perimeter; | 3.2.1 Perform an active vulnerability assessment in a test
R4.4. A review of controls for default accounts, passwords, and network management community strings; | environment, or perform an active vulnerability assessment in a production environment where the test is
R4.5. Documentation of the results of the assessment, the action plan to remediate or mitigate vulnerabilities | performed in a manner that minimizes adverse effects, that models the baseline configuration of
identified in the assessment, and the execution status of that action plan. | the BES Cyber System in a production environment; and
3.2.2 Document the results of the testing and, if a test environment was used, the differences between the
007‐3 R1. Test Procedures — The Responsible Entity shall ensure that new Cyber Assets and significant changes | test environment and the production environment, including a description of the measures used to account for
to existing Cyber Assets within the Electronic Security Perimeter do not adversely affect existing cyber security | any differences in operation between the test and production environments.
controls. For purposes of Standard CIP‐007‐3, a significant change shall, at a minimum, include implementation of | 3.3 Prior to adding a new applicable Cyber Asset to a production environment, perform an active vulnerability
security patches, cumulative service packs, vendor releases, and version upgrades of operating systems, | assessment of the new Cyber Asset, except for CIP Exceptional Circumstances and like replacements of the same
applications, database platforms, or other third‐party software or firmware. | type of Cyber Asset with a baseline configuration that models an existing baseline configuration of the previous
R1.1 The Responsible Entity shall create, implement, and maintain cyber security test procedures in a manner | or other existing Cyber Asset.
that minimizes adverse effects on the production system or its operation. | 3.4 Document the results of the assessments conducted according to Parts 3.1, 3.2, and 3.3 and the action plan
to remediate or mitigate vulnerabilities identified in the assessments including the planned date of completing
the action plan and the execution status of any remediation or mitigation action items.
003‐3 R4. Information Protection — The Responsible Entity shall implement and document a program to identify, | 011‐1 R1. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects | X |  |  | X | [5 empty] | X | X
classify, and protect information associated with Critical Cyber Assets. | deficiencies, one or more documented information protection program(s) that collectively includes each of the
R4.1. The Critical Cyber Asset information to be protected shall include, at a minimum and regardless of media | applicable requirement parts in CIP‐011‐1 Table R1 – Information Protection.
type, operational procedures, lists as required in Standard CIP‐002‐3, network topology or similar diagrams, floor | 1.1 Method(s) to identify information that meets the definition of BES Cyber System Information.
plans of computing centers that contain Critical Cyber Assets, equipment layouts of Critical Cyber Assets, disaster | 1.2 Procedure(s) for protecting and securely handling BES Cyber System Information, including storage, transit,
recovery plans, incident response plans, and security configuration information. | and use.
007‐3 R7. Disposal or Redeployment — The Responsible Entity shall establish and implement formal methods, | 011‐1 R2. Each Responsible Entity shall implement one or more documented processes that collectively include | X |  |  | X | [5 empty] | X | X | X
processes, and procedures for disposal or redeployment of Cyber Assets within the Electronic Security | the applicable requirement parts in CIP‐011‐1 Table R2 – BES Cyber Asset Reuse and Disposal.
Perimeter(s) as identified and documented in Standard CIP‐005‐3. | 2.1 Prior to the release for reuse of applicable Cyber Assets that contain BES Cyber System Information (except
R7.1. Prior to the disposal of such assets, the Responsible Entity shall destroy or erase the data storage media | for reuse within other systems identified in the “Applicable Systems” column), the Responsible Entity shall take
to prevent unauthorized retrieval of sensitive cyber security or reliability data. | action to prevent the unauthorized retrieval of BES Cyber System Information from the Cyber Asset data storage
R7.2. Prior to redeployment of such assets, the Responsible Entity shall, at a minimum, erase the data storage | media
media to prevent unauthorized retrieval of sensitive cyber security or reliability data. | 2.2 Prior to the disposal of applicable Cyber Assets that contain BES Cyber System Information, the Responsible
Entity shall take action to prevent the unauthorized retrieval of BES Cyber System Information from the Cyber
Asset or destroy the data storage media.